| ### Tent/Canopy Permit Application |  |
| --- | --- |
| The NC Fire Prevention Code requires tents, canopies and other membrane structures to be evaluated for fire and life safety and a permit issued prior to the event. For all State-owned property the NC Department of Insurance (NCDOI) is responsible for that evaluation and granting of a permit. Upon obtaining satisfactory evidence that the proposed structure will be in accordance with minimum Code requirements, NCDOI issues a permit in the form of a signed approval letter/E-mail. Applicants must submit completed application with required attachments to DoI at least 30 days prior to event |  |
| SECTION I. Event Information |  |
| Applicant’s Name: Department: |  |
| Phone Number: E-mail Address: |  |
| Event Address/Location: |  |
| Name/Type of Event: |  |
| Tent/Canopy Set Up Date: Event Date(s) and Time: |  |
| ###### SECTION II. Tent/Canopy Checklist |  |
| Please indicate if application is for: tent or canopy Size of Tent or Canopy: |  |
| YES NO |  |
|  | Is tent >200 square feet or canopy >400 square feet? If yes, permit is required. |
|  | Is tent/canopy certified as either flame resistant material or treated with flame retardant? (Certificate provided by manufacturer or vendor and material labeled.) |
|  | Is occupant load of tent/canopy >50 people (5 SF per person for standing, 7 SF per person for seating, and 15 SF per person for table/chairs.)? attach detailed floor plan identifying seating arrangement, means of egress, and any cooking, cooling, heating or electrical equipment. |
|  | Is occupant load of tent/canopy >200 people? If yes, auxiliary emergency power may be required. |
|  | Are 20 foot fire lanes provided around the tent/canopy? Fire Dept vehicle access must be provided within 150’ of tent |
|  | Is 20 foot separation provided between structure and other tents, canopies, lot lines, building lines, parked vehicles, or internal combustion engines? For the purpose of determining required distances, support ropes and guy wires shall be considered as part of the tent/canopy. |
|  | Does the tent have flaps? If so, verify that they are of a contrasting color and slide on a metal rod to completely clear the minimum 77” wide by 80” high exit. |
|  | Are means of egress from tent/canopy maintained free of obstructions and are aisle clearances of at least 44 inches provided in the tent/canopy where appropriate? |
|  | Are open flames and other devices emitting flame, fire, heat or any flammable or combustible liquids, gas, charcoal or other cooking devices maintained at least 20 feet away from tent/canopy? (Operations such as warming of foods and similar operations that use solid flammables, butane or other similar devices which do not pose an ignition hazard, shall be approved.) |
|  | Are areas inside and within 10 feet of the structure maintained clear of all combustible materials or vegetation that could create a fire hazard? |
|  | Is smoking prohibited in tent/canopy? |
|  | Are appropriate restroom accommodations provided for the event? Indicate where. |
|  | Are accessibility features, including an accessible walking surface, provided to accommodate disabled event attendees? Note that grass is NOT an accessible walking surface. |
|  | Will tent/canopy be maintained in good condition and adequately roped, braced and anchored to withstand the elements of weather and prevent against collapsing? Ropes, guy wires, etc. must be readily visible to minimize trip hazard. |
|  | Are exits marked and at least 72” wide? Any flaps must be a contrasting color and completely open to allow exiting through the full width of the exit. Lit exit signs with battery backup are required for tents (with sides) and may be required elsewhere. |
|  | Has site plan been attached indicating tent/canopy location, fire lanes, and separation distances from other tents/canopies, lot lines, buildings, parked vehicles, etc.? |
|  | Are fire extinguishers located within 75’ of all points within the tent? |